## Instructions
PLEASE PROVIDE A RATE FOR ALL YOUR CHOSEN MEASURES BASED UPON THE ASSUMPTIONS INDICATED FOR EACH
EACH MEASURE HAS ITS OWN TAB IN THIS SPREADSHEET - SEE BELOW
PLEASE COMPLETE EACH MEASURE TAB FOR YOUR CHOSEN MEASURES
THE WORKSHEETS ARE NOT LOCKED SO PLEASE DO NOT CHANGE THE FORMAT - THANK YOU
THERE IS A SPACE FOR YOU TO ADD ANY ASSUMPTIONS MADE AS WE REALISE THAT PROVIDING A GENERAL PRICE FOR WORKS CAN BE DIFFICULT
PLEASE PROVIDE ALL PRICES EXCLUSIVE OF VAT
REMEMBER TO SAVE YOUR WORK!

## YOUR DETAILS
COMPANY / TRADING NAME
ADDRESS
TELEPHONE:
EMAIL:

## Insulation
PLEASE PROVIDE A RATE FOR EACH INSULATION TYPE
| All measures | Prices to include supply of materials, installations and appropriate insurance backed warranties
| All measures | Measures will be allocated managed via a portal system, that requires i-pad/i-phone use in the field
| CWI | Properties will have been drilled and scoped to confirm empty cavity
ASSUMPTIONS: | CWI | Contractor will be required to complete a Technical Assessment on property
| CWI | Airbricks to be sleeved included in rate per m2
| CWI | Any scaffolding required for all works to be supplied by HESL
| CWI | Proposed cavity wall systems are BBA approved
| CWI | Cavity wall insulation is installed in line with the GIGA code of best practice
| CWI | Any cavity brushes that may be required
| Loft | Full technical survey and photos will be provided to price against
| Loft | Insulation and draught proofing of up to 2 loft hatches
| Loft | Insulation for 2 tank jackets, up to 10m of pipe insulation and draughtproof/hooks on hatch to be included in rate per m2
| Rate per m2 - £ | Price per £ | Please provided details of materials used for all measures | Your assumptions for all measures (please note any minimum cost per home)
CAVITY WALL INSULATION
STANDARD INSTALLATION METHOD
Cavity up to 80 mm |  | Price based on net wall area excluding doors and windows
Cavity 81 - 120 mm
Cavity 121 mm - 150 mm
Partial fill cavity - residual cavity up to 80mm
Partial fill cavity - residual cavity up to 81mm - 120 mm
Partial fill cavity - residual cavity up to 121mm - 150mm
Cavity Extraction
Core Vents each
ROPE ACCESS METHOD
Cavity up to 80 mm |  | Price based on net wall area excluding doors and windows
Cavity 81 - 120 mm
Cavity 121 mm - 150 mm
Partial fill cavity - residual cavity up to 80mm
Partial fill cavity - residual cavity up to 81mm - 120 mm
Partial fill cavity - residual cavity up to 121mm - 150mm
Cavity Extraction
Core Vents each
Other - please describe
Full Ecosurv Survey
Chartered surveyor report confirming CWI cannot be completed for technical reasons (sta cavity & rope access)
FLAT ROOF INSULATION
Remove internal ceiling, fit fibreglass to achieve minimum u-value of 0.35, new ceiling, skimmed and painted
Overboard with insulation backed plasterboard to achieve u-value of 0.35, skim and paint
Remove existing external roof structure, install fibreglass to meet minimum u-value of 0.35, install new timber deck with felt finish minimum 10 year guarantee
Remove existing external roof structure, install fibreglass to meet minimum u-value of 0.35, install new timber deck with fibreglass finish minimum 20 year guarantee
Convert cold roof to hot roof. Removing external roof structure, installing insulation to meet a minimum u-value of 0.35. Install new timber deck with felt finish, minumum 10 yer guarantee
Convert cold roof to hot roof. Removing external roof structure, installing insulation to meet a minimum u-value of 0.35. Install new timber deck with fibregalss finish, minumum 20 yer guarantee
Full Ecosurv Survey
FLOOR INSULATION (whole house)
Install minimum 150mm fibreglass beneath suspended floor from below, retain with netting
Lift carpets, lay multifoil insulation and re-lay carpets. Includes temporary re-location of furniture from room to room
LOFT INSULATION
0 - 300 mm
50 - 300 mm
100 - 300 mm
150 - 300 mm
Downlight Covers - each
Additional tank jackets over first 2
Additional 15mm pipe insulation p/m over 10m
Additional 22mm pipe insulation p/m over 10m
Additional 28mm pipe insulation p/m over 10m
Insulate and draught proof additional loft hatch
Fit new loft hatch
Supply and fit Easivent style felt vents (each)
Install boarding between hatch and cold tanks (per linear metre)
Full Ecosurv Survey
ROOM IN ROOF/ VAULTED CEILING INSULATION
N.B. Standard loft and residual area price will be based on loft insulation price as above, vertical wall areas will be based on IWI prices below
Sloping celings - overboard with insulation backed plasterboard to achieve minimum u-value of 0.35, skim and paint
Install fibreglass to stud uprights to achieve minimum u-value of 0.35 to include insulation over joists to prevent cold bridging, insulation to be adequately retained
Full Ecosurv Survey
SOLID WALL INSULATION - INTERNAL
Install internal wall insulation system to achieve minimum u-value of 0.3, skim and paint, to include all electrics - 0-20m2 (price per m2) |  | Prices based on gross wall measurements - including any enabling works and new window surrounds etc
Install internal wall insulation system to achieve minimum u-value of 0.3, skim and paint, to include all electrics - 21-50m2 (price per m2)
Install internal wall insulation system to achieve minimum u-value of 0.3, skim and paint, to include all electrics - 51m2+ (price per m2)
Full Ecosurv Survey
SOLID WALL INSULATION - EXTERNAL |  |  |  | Enter details of minimum job costs
Install external wall insulation system to achieve minimum u-value of 0.3 using through colour render or silicone finish 0-20m2 (price per m2) |  | Prices based on gross wall measurements - including any enabling works and new cills etc (do not include scaffolding)
Install external wall insulation system to achieve minimum u-value of 0.3 using through colour render or silicone finish 21-50m2 (price per m2)
Install external wall insulation system to achieve minimum u-value of 0.3 using through colour render or silicone finish 50m2+ (price per m2)
Install external wall insulation system to achieve minimum u-value of 0.3 using dash finish 0-20m2 (price per m2)
Install external wall insulation system to achieve minimum u-value of 0.3 using dash finish 21-50m2 (price per m2)
Install external wall insulation system to achieve minimum u-value of 0.3 using dash finish (51m+ (price per m2)
Install external wall insulation system to achieve minimum u-value of 0.3 using brick slip 0-20m2 (price per m2)
Install external wall insulation system to achieve minimum u-value of 0.3 using brick slip 21-50m2 (price per m2)
Install external wall insulation system to achieve minimum u-value of 0.3 using brick slip 50m2+ (price per m2)
Full Ecosurv Survey

## Draughtproofing
PLEASE PROVIDE A RATE FOR DRAUGHTPROOFING
| Price per £ | Please provided details of materials used for all measures | Your assumptions for all measures
DRAUGHTPROOFING
Windows
Sash small (<1.5m2)
Sash large (>1.5m2)
Wooden small (<1.5m2)
Wooden large (>1.5m2)
Metal small (<1.5m2)
Metal large (>1.5m2)
UPVC seal replacement small (<1.5m2)
UPVC seal replacement large (>1.5m2)
Doors
Internal wood
External wood
UPVC seal replacement
Chimney balloon
Loft hatch (when not completed as part of a loft job)
Other - please describe

## Windows and Doors
PLEASE PROVIDE A RATE FOR REPLACEMENT DOUBLE GLAZED WINDOW
All doors and windows to be A+ rated and include new cills and full internal and external finishing with UPVC/paint as needed. Must come with insurance backed 10 year guarantee
|  | Price per £ | Please provided details of materials used for all measures | Your assumptions for all measures
WINDOWS
Type | Replacing
Remove small window (up to 1m2) and replace with UVPC top hung opener | Wood/metal
Remove small window (up to 1m2) and replace with UVPC top hung opener | Sash
Remove medium window (1-2m2) and replace with UVPC 50/50 opener | Wood/metal
Remove medium window (1-2m2) and replace with UVPC 50/50 opener | Sash
Remove large window (2-3m2) and replace with UVPC 50/50 opener plus small top hung opener on one side | Wood/metal
Remove medium window (1-2m2) and replace with UVPC 50/50 opener | Sash
Remove extra large window (3-5m2) and replace with UVPC with 2 side openers plus small top hung opener on one side | Wood/metal
Remove extra large window (3-5m2) and replace with UVPC with 2 side openers plus small top hung opener on one side | Sash
Install new UPVC external door - solid UPVC
Install new UPVC external door - 50/50 glass/UPVC
Example window styles - actual may vary
Small style | Medium Style |  | Large style

## Heating
PLEASE PROVIDE YOUR RATE (exclusive of VAT) FOR HEATING MEASURES
Please see important notes below detailing what is provided / what is required.
* means that the works are carried out as part of a boiler installation - not standalone
Code | General Works | Price | Notes
PLUME-KIT | Fit plume kit |  | *
TRV-UPGRADE | Replace/install TRV and lockshield |  | * (Cannot be claimed on a first time heating system)
RAD-REPLACE | Replace existing radiator inc TRV costs |  | *
RAD-NEW | Install new radiator inc TRV costs |  | *
FLUE-VERT-1-STOREY | Vertical flue extra cost single storey |  | *
FLUE-VERT-2-STOREY | Vertical flue extra cost two storey |  | *
PUMP-REPLACE | Replace pump |  | *
HWC-SWAP | Hot water cylinder straight swap |  | *
HWC-NEW | Hot water cylinder new installation
HWC-VENT-TO-UNVENTED | Hot water cylinder vented to unvented |  | *
HWC-UNVENTED-NEW | Hot water cylinder unvented new installation
SYSTEM-DRAIN-FILL | Drain down heating system and re-fill |  | Not to be claimed as part of a boiler installation
MAG-FILTER-FIT | Fit magnetic filter |  | * (Cannot be claimed on a first time heating system)
BAL-FLUE-MAKE-GOOD | Make good balanced flue hole to acceptable standard |  | *
SMART-STAT-UPGRADE | Upgrade to smart thermostat e.g. NEST - connect to internet and demonstrate |  | *
Electrical Works - to be claimed only alongside boiler upgrades
ELEC-FUSED-SPUR | Fit new fused spur |  | *
ELEC-PROG | Install wired programmer |  | * (No fees are paid for wireless/plug-in control installation)
ELEC-HWC-STAT | Install wired HWC thermostat |  | *
ELEC-ROOM-STAT | Install wired room stat |  | * (No fees are paid for wireless/plug-in control installation)
ELEC-BONDING | Boiler earth bonding |  | * (Cannot be claimed on a first time heating system)
ELEC-METER-BOND | Earth bond gas meter |  | * (Cannot be claimed on a first time heating system)
ELEC-OIL-LINE-BOND | Earth bond oil line |  | *
ELEC-S-PLAN | Convert to S plan |  | *
ELEC-Y-PLAN | Convert to Y plan |  | *
Gas/LPG Boiler Upgrades
GAS-COMBI-SWAP | Gas combi boiler upgrade
GAS-STAN/SYS-SWAP | Gas standard/system straight swap
GAS-STAN-COMBI | Gas standard to combi |  | Includes removal and disposal of HWC
GAS-STAN-ROBO | Gas standard upgrade with Robokit
GAS-BBU-COMBI | Gas back boiler to combi |  | Includes removal and disposal of HWC and disconnecting/making safe fire
GAS-STAN-SYS | Gas standard boiler to system boiler |  | Includes removal and disposal of HWC
GAS-SYS-COMBI | Gas system boiler to combi |  | Includes removal and disposal of HWC
GAS-GRAV-F/PUMPED | Gas gravity to fully pumped |  | Includes installation of pump
GAS-MAIN-22 | Gas main upgrade 22mm - per metre (over first 1m) |  | * (Cannot be claimed on a first time heating system)
GAS-MAIN-28 | Gas main upgrade 28mm - per metre (over first 1m) |  | * (Cannot be claimed on a first time heating system)
Gas/LPG Other Works
GAS-CONDENSE-PUMP | Fit condense pump inc wiring - gas
GAS-SERVICE | Boiler service Gas/LPG
GAS-1HOUR-CALLOUT | General call out charge 1st hour on-site - gas
GAS-30MIN-LABOUR | Additional labour charge per 30 minutes - gas
GAS-RELOC-FLOOR-WALL | Relocate gas boiler floor to wall |  | Add cost to boiler upgrade cost
GAS-RELOCATE>1M<10M | Relocate gas boiler up to 10m |  | Add cost to boiler upgrade cost
Oil Boiler Upgrades
OIL-COMBI-SWAP | Oil Combi boiler upgrade
OIL-STAN/SYS-SWAP | Oil Standard/system straight swap
OIL-STAN-COMBI | Oil Standard to combi |  | Includes removal and disposal of HWC
OIL-STAN-ROBO | Oil Standard upgrade with Robokit
OIL-STAN-SYS | Oil Standard boiler to system boiler
OIL-SYS-COMBI | Oil System boiler to combi |  | Includes removal and disposal of HWC
OIL-GRAV-F/PUMPED | Oil Gravity to fully pumped |  | Includes installation of pump
Oil Additional Works
OIL-LINE-UPGRADE | Oil line upgrade - per metre |  | *
OIL-INT-TO-EXT<2M | Internal to external conversion additional charge <2m |  | *
OIL-INT-TO-EXT>2M | Internal to external conversion additional charge >2m |  | *
OIL-TIGER-LOOP | Install tiger loop |  | *
OIL-TANK-SWAP | Replace oil tank |  | Replace tank and transfer oil - customer to dispose of old tank
OIL-CONDENSE-PUMP-WB | Fit condense pump inc wiring oil Worcester Bosch only |  | * Cost not claimable for Firebird condense pump
OIL-SERVICE | Oil boiler service
OIL-1HOUR-CALLOUT | General call out charge 1st hour on-site - Oil
OIL-30MIN-LABOUR | Additional labour charge per 30 minutes - Oil
Full Gas/LPG Central Heating
FTCH4 | Combi boiler and up to 4 radiators |  | Fully inclusive price (see specification below)
FTCH5 | Combi boiler and up to 5 radiators |  | Fully inclusive price (see specification below)
FTCH6 | Combi boiler and up to 6 radiators |  | Fully inclusive price (see specification below)
FTCH7 | Combi boiler and up to 7 radiators |  | Fully inclusive price (see specification below)
FTCH8 | Combi boiler and up to 8 radiators |  | Fully inclusive price (see specification below)
FTCH9 | Combi boiler and up to 9 radiators |  | Fully inclusive price (see specification below)
FTCH10 | Combi boiler and up to 10 radiators |  | Fully inclusive price (see specification below)
FTCH11 | Combi boiler and up to 11 radiators |  | Fully inclusive price (see specification below)
FTCH12 | Combi boiler and up to 12 radiators |  | Fully inclusive price (see specification below)
FTCH13 | Combi boiler and up to 13 radiators |  | Fully inclusive price (see specification below)
FTCH14 | Combi boiler and up to 14 radiators |  | Fully inclusive price (see specification below)
FTCH15 | Combi boiler and up to 15 radiators |  | Fully inclusive price (see specification below)
RADFTCH>15 | Extra cost per radiator over 15 |  | Fully inclusive price (see specification below)
FTCHDRILL>50CM-STONE | Flue hole additional drilling solid wall >50cm thick soft stone |  | When carried out as part of a new central heating installation
FTCHDRILL>50CM-GRANITE | Flue hole additional drilling solid wall >50cm thick granite |  | When carried out as part of a new central heating installation
FTCH-ESH-DISPOSE | Disconnect, remove and dispose of old storage heaters (each) |  | When carried out as part of a new central heating installation
* means that the works are carried out as part of a boiler installation - not standalone
Full central heating works to include the following:
Connection and earth bonding of new gas meter
Connection to LPG supply and installation of changeover valve if applicable
Removal and safe disposal of storage heaters where fitted (additional fee can be claimed)
All electrical works including new fused spur and any bonding as required
Installation of all controls including programmer, thermostats and TRVs
Drilling for standard flue (additional fees can be claimed where walls are solid stone and more than 50cm thick)
Remove any old hot water cylinders and drain and cap off any cold water tanks
| Kit components Boiler Upgrades - provided by HESL | Kit components Full Central Heating - Provided by HESL
| Boiler | Boiler
| Flue including extensions and elbows | Flue including extensions and elbows
| System cleaner | System inhibitor
| System inhibitor | System cleaner
| Filling loop where required) | Filling loop (where required)
| Shock arrester (combi boilers) | Shock arrester (combis)
| Automatic bypass valve (regular and system boilers) | Bundle of 22mm copper
| 1 length 15mm and 22mm copper | Bundle of 15mm copper
| Scale inhibitor (hard water areas only) | Radiators
| Fire Valve (oil only) | TRVs and Lockshield valves
| Oil filter (oil only) | Scale inhibitor (hard water areas only)
| Magnetic filter | Magnetic filter
| Optional items supplied by HESL only where identified at point of survey | Optional items supplied by HESL only where identified at point of survey
| Radiators | CO detector (if one not already fitted)
| Timer, room stat and cylinder stat | Access equipment
| S or Y plan kit | LPG change over valve
| Replacement pump | Condensate pump
| CO detector (if one not already fitted) | Trunking
Condensate pump (always supplied with Firebird oil boiler)
Access equipment
Tiger loop (oil only)

## Heat Pumps
PLEASE PROVIDE A RATE FOR AIR SOURCE AND / OR GROUND SOURCE PUMPS
GSHP Note: | Assume borehole completed by Happy Energy with manifold installed in plant room fully pressure tested ready for your connection
ASHP Note: | Assume installation onto existing base within 5m of property or using supplied wall bracket
| Gas/Oil Boiler to ASHP/GSHP Upgrades - labour only | £ | Notes | Assumptions
GAS-COMBI-ASHP | Combi to ASHP Monobloc
GAS-COMBI-ASHPVHT | Combi to ASHP Split High Temp (FGAS Required)
GAS-COMBI-GSHP | Combi to GSHP
GAS-COMBI-ASHPHYB | Gas Combi to gas hybrid heat pump
GAS-STANDARD-ASHP | Standard/System to ASHP |  | *
GAS-STANDARD-ASHPVHT | Standard/System to ASHP Split High Temp (FGAS Required) |  | *
GAS-STANDARD-GSHP | Standard/System to GSHP |  | *
GAS-STANDARD-ASHPHYB | Gas Standard/System to gas hybrid heat pump
GAS-BB-ASHP | Back Boiler to ASHP (to include decommission and cap off back boiler) |  | *
GAS-BB-ASHPVHT | Back Boiler to ASHP Split High Temp (to include decommission and cap off back boiler) |  | *
GAS-BB-GSHP | Back Boiler to GSHP (to include decommission and cap off back boiler) |  | *
GAS-BB-ASHPHYB | Gas back boiler to gas hybrid heat pump
Extras | Price to remove/upgrade radiator as part of low temp upgrade (labour only each)
Extras | Install concrete base for ASHP
Extras | ASHP trenching for installation >5m from home but within 10m
*Remove and dispose of old hot water cylinder
Option to price for entire central heating system or just to install pump and hot water system where radiator system is pre-installed by Happy Energy
| Full New Central Heating ASHP Monobloc Low Temperature | £
ASHPFTCH4 | ASHP (M) and up to 4 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH5 | ASHP (M) and up to 5 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH6 | ASHP (M) and up to 6 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH7 | ASHP (M) and up to 7 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH8 | ASHP (M) and up to 8 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH9 | ASHP (M) and up to 9 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH10 | ASHP (M) and up to 10 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH11 | ASHP (M) and up to 11 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH12 | ASHP (M) and up to12 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH13 | ASHP (M) and up to 13 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH14 | ASHP (M) and up to 14 radiators |  | Fully inclusive price (see specification below)
ASHPFTCH15 | ASHP (M) and up to 15 radiators |  | Fully inclusive price (see specification below)
OPTIONAL | Install of Pump and HW System Only (to wet system pre-installed by Happy Energy)
| Full New Central Heating ASHP Split High Temperature - FGAS required | £
ASHPVHTFTCH4 | ASHP (S) and up to 4 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH5 | ASHP (S) and up to 5 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH6 | ASHP (S) and up to 6 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH7 | ASHP (S) and up to 7 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH8 | ASHP (S) and up to 8 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH9 | ASHP (S) and up to 9 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH10 | ASHP (S) and up to 10 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH11 | ASHP (S) and up to 11 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH12 | ASHP (S) and up to12 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH13 | ASHP (S) and up to 13 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH14 | ASHP (S) and up to 14 radiators |  | Fully inclusive price (see specification below)
ASHPVHTFTCH15 | ASHP (S) and up to 15 radiators |  | Fully inclusive price (see specification below)
OPTIONAL | Install of Pump and HW System Only (to wet system pre-installed by Happy Energy)
| Full New Central Heating ASHP Gas Hybrid - FGAS and Gas Safe required | £
ASHPHYBRIDTFTCH4 | ASHP (S) and up to 4 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH5 | ASHP (S) and up to 5 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH6 | ASHP (S) and up to 6 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH7 | ASHP (S) and up to 7 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH8 | ASHP (S) and up to 8 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH9 | ASHP (S) and up to 9 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH10 | ASHP (S) and up to 10 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH11 | ASHP (S) and up to 11 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH12 | ASHP (S) and up to12 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH13 | ASHP (S) and up to 13 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH14 | ASHP (S) and up to 14 radiators |  | Fully inclusive price (see specification below)
ASHPHYBRIDFTCH15 | ASHP (S) and up to 15 radiators |  | Fully inclusive price (see specification below)
OPTIONAL | Install of Pump and HW System Only (to wet system pre-installed by Happy Energy)
| Full New Central Heating GSHP Low Temperature | £
GSHPFTCH4 | GSHP and up to 4 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH5 | GSHP and up to 5 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH6 | GSHP and up to 6 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH7 | GSHP and up to 7 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH8 | GSHP and up to 8 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH9 | GSHP and up to 9 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH10 | GSHP and up to 10 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH11 | GSHP and up to 11 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH12 | GSHP and up to 12 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH13 | GSHP and up to 13 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH14 | GSHP and up to 14 radiators |  | Fully inclusive price (see specification below)
GSHPFTCH15 | GSHP and up to 15 radiators |  | Fully inclusive price (see specification below)
OPTIONAL | Install of Pump and HW System Only (to wet system pre-installed by Happy Energy)
| Optional Battery Storage Installed Alongside any of the Above - Labour only | £
HPB4 | Install Power Vault battery storage alongside above - 4kW
HPB8 | Install Power Vault battery storage alongside above - 8kW
HPB12 | Install Power Vault battery storage alongside above - 12kW
HPB16 | Install Power Vault battery storage alongside above - 16kW
Full central heating works to include the following:
Connection to pre-installed ground loop manifold for GSHP
Installation and connection to ASHP
Removal and safe disposal of storage heaters where fitted
Electrical connections to new supply and installation of electric meters to meet metering for performance requirements
Installation of all controls including programmer, thermostats and TRVs
Remove any old hot water cylinders and drain and cap off any cold water tanks
Installation of buffer if required
Materials Supplied by HESL
GSHP Kensa or Worcester Bosch
ASHP Hitachi
Hot water cylinder and buffer
All | System inhibitor
Upgrade | System cleaner
All | Filling loop (where required)
FTCH | Bundle of 22mm copper (additional bundle supplied for 9+ radiator systems)
FTCH | Bundle of 15mm copper (additional bundle supplied for 9+ radiator systems)
FTCH | Radiators
All | TRVs and Lockshield valves
All | Scale inhibitor (hard water areas only)
All | Magnetic filter

## Air Conditioning
PLEASE PROVIDE A RATE FOR AIR SOURCE / AIR CONDITIONING
ASHP Note: | Assume installation onto existing base or supplied wall bracket within 5m of property
| Full New Split System | £ | ASSUMPTIONS
AC1-1 | Outdoor Unit and 1 Indoor Unit
AC1-2 | Outdoor Unit and 2 Indoor Unit
AC1-3 | Outdoor Unit and 3 Indoor Unit
AC1-4 | Outdoor Unit and 4 Indoor Unit
AC1-5 | Outdoor Unit and 5 Indoor Unit
AC1-6 | Outdoor Unit and 6 Indoor Unit
AC1-7 | Outdoor Unit and 7 Indoor Unit (VRF unit)
AC1-8 | Outdoor Unit and 8 Indoor Unit (VRF unit)
AC2-6 | 2 x Outdoor Unit and 6 Indoor Unit
AC2-7 | 2 x Outdoor Unit and 7 Indoor Unit
AC2-8 | 2 x Outdoor Unit and 8 Indoor Unit
AC2-9 | 2 x Outdoor Unit and 9 Indoor Unit
AC2-10 | 2 x Outdoor Unit and10 Indoor Unit
AC2-11 | 2 x Outdoor Unit and11 Indoor Unit
AC2-12 | 2 x Outdoor Unit and 12 Indoor Unit
| Optional Battery Storage Installed Alongside any of the Above - Labour only | £
ACB4 | Install Power Vault battery storage alongside above - 4kW
ACB8 | Install Power Vault battery storage alongside above - 8kW
ACB12 | Install Power Vault battery storage alongside above - 12kW
ACB16 | Install Power Vault battery storage alongside above - 16kW
| Extras | £
Extras | Price to remove and dispose of extsing storage heaters (each)
Extras | Install concrete base for outdoor unit
Extras | Outdoor unit trenching for installation >5m from home but within 10m

## Solar PV
PLEASE PROVIDE A RATE FOR SOLAR PV
All scaffolding and core materials to be supplied by Happy Energy
| Solar PV | £ | £ | £ | £ | £ | £ | £
|  | Tile roof | Slate roof | Ground mount on metal frame | Ground mount tub/ballast | Flat roof metal frame | Flat roof tub/ballast | Strengthen roof with timber if needed | Assumptions
PV6 | Up to 6 Panel System
PV12 | 7-12 panel system
PV18 | 13-18 panel system
PV24 | 19-24 panel system
PV30 | 25-30 panel system
PV36 | 31-36 panel system
PV42 | 37-42 panel system
Optional Battery Storage Installed Alongside the above - Labour Only |  | £
PVB4 | Install Power Vault battery storage alongside above - 4kW
PVB8 | Install Power Vault battery storage alongside above - 8kW
PVB12 | Install Power Vault battery storage alongside above - 12kW
PVB16 | Install Power Vault battery storage alongside above - 16kW
| Extras | £
Extras | Install electric vehicle charger (Zappi) |  | Labour only
Extras | Install electric immersion controller with PV system |  | Labour only
Extras | Run armoured cable above ground per metre |  | Include cost of cable in your price
Extras | Run armoured cable trenched per metre |  | Include cost of cable and soft dig in your price
Extras | Undertake mains equipotential bonding if not present |  | Labour and materials
Extras | Install new full consumer unit with RCD |  | Labour only
Extras | Install small consumer unit where no spare way available |  | Labour only
For ground or flat roof mounted systems, contractor will be required to construct frame, or fit and fill tub with ballast as required
Where the tub and ballast mounting is used, the installer will need to supply their own ballast in the form or gravel or similar

## Ventilation
PLEASE PROVIDE A RATE FOR VENTILATION
All scaffolding (where needed) and core materials to be supplied by Happy Energy
To include all cabling and electrical certification
Ventilation type - labour only | Sub Type | £ | [8 empty] | Assumptions
Single Extractor or MVHR fan | Core drill through Cavity/timber framed walls
Single Extractor or MVHR fan | Core drill through Solid brick (circa 250mm thick)
Single Extractor or MVHR fan | Core drill through Solid soft stone <400mm thick
Single Extractor or MVHR fan | Core drill through Solid hard stone/granite >401mm thick
Single Extractor or MVHR fan | Ducted into roof space exit via tile vent |  | Include any roofing work
Single Extractor or MVHR fan | Ducted into roof space exit via soffit vent
Install window trickle vents | Supply and install - each*
Positive pressure ventilator single unit into loft | Nuiare Drimaster or equivalent
Install whole house mechanical ventilation with heat recovery - labour only |  | £ | £ | £ | £ | £ | £ | £ | £ | £
|  | 4 rooms | 5 rooms | 6 rooms | 7 rooms | 8 rooms | 9 rooms | 10 rooms | 11 rooms | 12 rooms
1 storey bungalow or flat | Installed in roof space with soffit or tile vent extracts
1 storey mid-floor flat | Assume trunking required and core vent extracts
2 storey property | Roof space with soffit/tile vent and drops to lower storeys
3 storey property | Roof space with soffit/tile vent and drops to lower storeys
| Extras | £
Extras | Undertake mains equipotential bonding if not present
Extras | Install new full consumer unit with RCD
Extras | Install small consumer unit where no spare way available
*It is antcipated that this will be undertaken alongside other works, if it is a standalone job we will allow a minimum charge of 4 vents per property

## Scaffolding
PLEASE PROVIDE A RATE FOR SCAFFOLDING
Based on scaffold for 2, 3 and 4 storey properties - 1 external wall, 8m long
Based on 1 week, 2 week hire and run on costs
Description | Price £ | Per ? | £ Week 1 | £ Week 2 | £ Run on per week | Assumptions
2 Storey
Labour
Scaffold Erection
Adaptations
Dismantle
Expenses
Materials
Tubular Components
Decking
Fittings
3 Storey
Labour
Scaffold Erection
Adaptations
Dismantle
Expenses
Materials
Tubular Components
Decking
Fittings
4 Storey
Labour
Scaffold Erection
Adaptations
Dismantle
Expenses
Materials
Tubular Components
Decking
Fittings

## Surveys
PLEASE PROVIDE A PRICE FOR WHOLE HOUSE TECHNICAL ASSESSMENTS AND PROVISION OF ENERGY PERFORMANCE CERTIFICATE (EPCS)
DESCRIPTION OF WORKS | £ PRICE | ASSUMPTIONS
Whole House Technical Assessment of property covering existingheating, insulation, ventilation, fabric of whole building captuing a range of data on an iPad app including floorplans, measurements, heat loss calculations, photos and videos sufficient for a Whole House Works Package to be developed.
Provision of EPC

## Servicing - Call Outs
PLEASE PROVIDE A PRICE FOR MAINTENANCE, SERVICING AND CALL OUTS
DESCRIPTION OF WORKS | £ FIXED PRICE | £ FIRST HOUR | £ HOURLY RATE | £ MATERIALS | MATERIALS USED | ASSUMPTIONS
Gas Boilers
Annual Service and Gas Safety Check
Emergency Call Out
Standard Call Out
Air / Ground Source Heat Pumps
Annual Service
Emergency Call Out
Standard Call Out
Air Conditioning
Annual Service
Emergency Call Out
Standard Call Out
Solar PV
Emergency Call Out
Standard Call Out

## Repairs - Electrics etc.
PLEASE PROVIDE A PRICE FOR A RANGE OF OTHER SERVICES INCLUDING GENERAL REPAIRS, ELECTRICS etc.
DESCRIPTION OF WORKS | £ FIXED PRICE | £ FIRST HOUR | £ HOURLY RATE | £ pm | £ MATERIALS | MATERIALS USED | ASSUMPTIONS
Repairs
Roofing
Pointing
Guttering
Painting
Electrical
Property Certification
Standard Call Out
Emergency Call Out
New fused spur
New Consumer Unit
Additional Consumer Unit
Earth Bonding

## Groundworks - Drilling
PLEASE PROVIDE A PRICE FOR GROUNDWORKS AND DRILLING IN PREPARATION FOR HEAT PUMPS
DESCRIPTION OF WORKS | £ pm | MATERIALS | ASSUMPTIONS
Set Up
Boreholes
Trenches
Manifolds
Pressure Testing